{"text_format":"3","workbook":"xlsx","n_sheets":11,"sheets":["扉-1 工程量清单扉页","表-08 分部分项工程和单价措施项目清单与计价表","表-11 总价措施项目清单与计价汇总表","表-12 其他项目清单与计价汇总表","表-12-1 暂列金额明细表","表-12-2 材料(工程设备)暂估价及调整表","表-12-3 专业工程暂估价及结算价表","表-12-4 计日工表","表-12-5 总承包服务费计价表","表-13 规费、税金项目计价表","表-14 主要材料价格表"],"read":"whole","date_system":"1900"}

{"sheet":"扉-1 工程量清单扉页","index":0,"n_rows":11,"n_cols":7,"rows_kept":11,"merged":[[0,1,0,5],[1,0,1,6],[2,0,2,1],[2,5,2,6],[3,0,3,1],[3,2,3,3],[3,5,3,6],[4,0,4,1],[4,2,4,3],[4,5,4,6],[5,0,5,1],[5,2,5,3],[5,5,5,6],[6,0,6,1],[6,2,6,3],[6,5,6,6],[7,0,7,1],[7,2,7,3],[7,5,7,6],[8,0,8,1],[8,2,8,3],[8,5,8,6],[9,0,9,1],[9,2,9,3],[9,5,9,6],[10,1,10,5]]}
[null,"商水县档案馆改造项目消防一体化泵站",{"$nulls":4},"工程"]
["招 标 工 程 量 清 单"]
[]
["招  标  人：",{"$nulls":3},"造价咨询人："]
[null,null,"（单位盖章）",null,null,"(单位资质专用章)"]
["法定代表人  \n\n或其授权人：",{"$nulls":3},"法定代表人  \n\n  或其授权人："]
[null,null,"(签字或盖章)",null,null,"(签字或盖章)"]
["编  制  人：",{"$nulls":3},"复  核  人："]
[null,null,"(造价人员签字盖专用章)",null,null,"(造价工程师签字盖专用章)"]
["编 制 时 间：",null,"    年   月   日",null,"复 核 时 间：","    年   月   日"]
[{"$nulls":6},"扉-1"]

{"sheet":"表-08 分部分项工程和单价措施项目清单与计价表","index":1,"n_rows":124,"n_cols":11,"rows_kept":124,"merged":[[0,0,0,10],[1,0,1,3],[1,4,1,8],[1,9,1,10],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,4],[2,5,4,5],[2,6,4,6],[2,7,2,10],[3,7,4,7],[3,8,4,9],[5,3,5,4],[5,8,5,9],[6,3,6,4],[6,8,6,9],[7,3,7,4],[7,8,7,9],[8,3,8,4],[8,8,8,9],[9,3,9,4],[9,8,9,9],[10,3,10,4],[10,8,10,9],[11,3,11,4],[11,8,11,9],[12,3,12,4],[12,8,12,9],[13,3,13,4],[13,8,13,9],[14,3,14,4],[14,8,14,9],[15,3,15,4],[15,8,15,9],[16,3,16,4],[16,8,16,9],[17,0,17,7],[17,8,17,9],[18,0,18,10],[19,0,19,3],[19,4,19,8],[19,9,19,10],[20,0,20,10],[21,0,21,3],[21,4,21,8],[21,9,21,10],[22,0,24,0],[22,1,24,1],[22,2,24,2],[22,3,24,4],[22,5,24,5],[22,6,24,6],[22,7,22,10],[23,7,24,7],[23,8,24,9],[25,3,25,4],[25,8,25,9],[26,3,26,4],[26,8,26,9],[27,3,27,4],[27,8,27,9],[28,3,28,4],[28,8,28,9],[29,3,29,4],[29,8,29,9],[30,3,30,4],[30,8,30,9],[31,3,31,4],[31,8,31,9],[32,3,32,4],[32,8,32,9],[33,3,33,4],[33,8,33,9],[34,3,34,4],[34,8,34,9],[35,3,35,4],[35,8,35,9],[36,3,36,4],[36,8,36,9],[37,3,37,4],[37,8,37,9],[38,0,38,7],[38,8,38,9],[39,0,39,10],[40,0,40,3],[40,4,40,8],[40,9,40,10],[41,0,41,10],[42,0,42,3],[42,4,42,8],[42,9,42,10],[43,0,45,0],[43,1,45,1],[43,2,45,2],[43,3,45,4],[43,5,45,5],[43,6,45,6],[43,7,43,10],[44,7,45,7],[44,8,45,9],[46,3,46,4],[46,8,46,9],[47,3,47,4],[47,8,47,9],[48,3,48,4],[48,8,48,9],[49,3,49,4],[49,8,49,9],[50,3,50,4],[50,8,50,9],[51,3,51,4],[51,8,51,9],[52,3,52,4],[52,8,52,9],[53,3,53,4],[53,8,53,9],[54,3,54,4],[54,8,54,9],[55,3,55,4],[55,8,55,9],[56,3,56,4],[56,8,56,9],[57,3,57,4],[57,8,57,9],[58,0,58,7],[58,8,58,9],[59,0,59,10],[60,0,60,3],[60,4,60,8],[60,9,60,10],[61,0,61,10],[62,0,62,3],[62,4,62,8],[62,9,62,10],[63,0,65,0],[63,1,65,1],[63,2,65,2],[63,3,65,4],[63,5,65,5],[63,6,65,6],[63,7,63,10],[64,7,65,7],[64,8,65,9],[66,3,66,4],[66,8,66,9],[67,3,67,4],[67,8,67,9],[68,3,68,4],[68,8,68,9],[69,3,69,4],[69,8,69,9],[70,3,70,4],[70,8,70,9],[71,3,71,4],[71,8,71,9],[72,3,72,4],[72,8,72,9],[73,3,73,4],[73,8,73,9],[74,3,74,4],[74,8,74,9],[75,0,75,7],[75,8,75,9],[76,0,76,10],[77,0,77,3],[77,4,77,8],[77,9,77,10],[78,0,78,10],[79,0,79,3],[79,4,79,8],[79,9,79,10],[80,0,82,0],[80,1,82,1],[80,2,82,2],[80,3,82,4],[80,5,82,5],[80,6,82,6],[80,7,80,10],[81,7,82,7],[81,8,82,9],[83,3,83,4],[83,8,83,9],[84,3,84,4],[84,8,84,9],[85,3,85,4],[85,8,85,9],[86,3,86,4],[86,8,86,9],[87,3,87,4],[87,8,87,9],[88,3,88,4],[88,8,88,9],[89,3,89,4],[89,8,89,9],[90,3,90,4],[90,8,90,9],[91,0,91,7],[91,8,91,9],[92,0,92,10],[93,0,93,3],[93,4,93,8],[93,9,93,10],[94,0,94,10],[95,0,95,3],[95,4,95,8],[95,9,95,10],[96,0,98,0],[96,1,98,1],[96,2,98,2],[96,3,98,4],[96,5,98,5],[96,6,98,6],[96,7,96,10],[97,7,98,7],[97,8,98,9],[99,3,99,4],[99,8,99,9],[100,3,100,4],[100,8,100,9],[101,3,101,4],[101,8,101,9],[102,3,102,4],[102,8,102,9],[103,3,103,4],[103,8,103,9],[104,3,104,4],[104,8,104,9],[105,3,105,4],[105,8,105,9],[106,3,106,4],[106,8,106,9],[107,3,107,4],[107,8,107,9],[108,3,108,4],[108,8,108,9],[109,3,109,4],[109,8,109,9],[110,3,110,4],[110,8,110,9],[111,3,111,4],[111,8,111,9],[112,3,112,4],[112,8,112,9],[113,3,113,4],[113,8,113,9],[114,3,114,4],[114,8,114,9],[115,3,115,4],[115,8,115,9],[116,3,116,4],[116,8,116,9],[117,3,117,4],[117,8,117,9],[118,3,118,4],[118,8,118,9],[119,3,119,4],[119,8,119,9],[120,0,120,7],[120,8,120,9],[121,0,121,7],[121,8,121,9],[122,0,122,10],[123,0,123,3],[123,4,123,8],[123,9,123,10]]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：商水县档案馆改造项目消防一体化泵站",{"$nulls":3},"标段：",{"$nulls":4},"第 1 页 共 6 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量","金 额(元)"]
[{"$nulls":7},"综合单价","合 价",null,"其中"]
[{"$nulls":10},"暂估价"]
[null,null,"消防控制室及消防泵房"]
[null,null,"消防控制室"]
[1,"030411004078","配线","1.名称:线管配线\n2.型号、规格:NHRVVP-2*0.5 \n3.材质:铜芯",null,"m","70.84"]
[2,"030411004081","配线","1.名称:线管配线\n2.型号、规格:WDZBN-RYJS-2*1.5 \n3.材质:铜芯",null,"m","73.8"]
[3,"030411004079","配线","1.名称:线管配线\n2.型号、规格:WDZN-RYJS-2*1.5 \n3.材质:铜芯",null,"m","71.14"]
[4,"030411004080","配线","1.名称:线管配线\n2.型号、规格:WDZN-BYJ-2*2.5 \n3.材质:铜芯",null,"m","147.6"]
[5,"030408002007","控制电缆","1.名称:配线\n2.型号、规格:WDZN-KYJY-7*1.5 \n3.材质:铜芯",null,"m","295.76"]
[6,"030408001002","电力电缆","1.名称:电力电缆\n2.型号规格:WDZN-YJY-4*30+1*16",null,"m","74.47"]
[7,"030408001003","电力电缆","1.名称:电力电缆\n2.型号规格:WDZN-YJY-3*6",null,"m","8.87"]
[8,"030408001004","电力电缆","1.名称:电力电缆\n2.型号规格:WDZN-YJY-4*6",null,"m","8.87"]
[9,"030408001005","电力电缆","1.名称:电力电缆\n2.型号规格:WDZN-YJY-5*6",null,"m","7.55"]
[10,"030411001011","配管","1.名称:焊接钢管\n2.规格: SC50",null,"m","143.65"]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":9},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：商水县档案馆改造项目消防一体化泵站",{"$nulls":3},"标段：",{"$nulls":4},"第 2 页 共 6 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量","金 额(元)"]
[{"$nulls":7},"综合单价","合 价",null,"其中"]
[{"$nulls":10},"暂估价"]
[11,"030411001012","配管","1.名称:焊接钢管\n2.规格: SC32",null,"m","6.05"]
[12,"030411001013","配管","1.名称:焊接钢管\n2.规格: SC25",null,"m","4.65"]
[13,"030904006001","消防报警电话插孔(电话）","1.名称:电话分机\n2.规格型号:/\n3.安装方式:1.3m,明装",null,"部","1"]
[14,"030904008001","模块","1.名称:输入输出模块\n2.规格型号:/\n3.安装方式:现场定位",null,"个","2"]
[15,"030904008002","模块","1.名称:输入模块\n2.规格型号:/\n3.安装方式:现场定位",null,"个","3"]
[16,"030904008003","模块","1.名称:压力开关模块\n2.规格型号:/\n3.安装方式:现场定位",null,"个","2"]
[17,"030904017002","报警联动一体机","1.名称:火灾报警控制器 报警联动一体机\n2.安装方式:壁挂式",null,"组","1"]
[18,"030904014003","消防广播及对讲电话主机(柜）","1.名称:电话总机",null,"台","1"]
[19,"030904014004","消防广播及对讲电话主机(柜）","1.名称:广播总机",null,"台","1"]
[20,"030905001006","自动报警系统调试","1.点数:64点以下",null,"系统","1"]
[null,null,"消防泵房"]
[null,null,"管道"]
[1,"030901002003","消火栓钢管","1.安装部位:室内\n2.介质:消防水\n3.材质、规格:热浸镀锌钢管 DN100\n4.连接形式:沟槽连接\n5..含沟槽管件",null,"m","151.76"]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":9},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：商水县档案馆改造项目消防一体化泵站",{"$nulls":3},"标段：",{"$nulls":4},"第 3 页 共 6 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量","金 额(元)"]
[{"$nulls":7},"综合单价","合 价",null,"其中"]
[{"$nulls":10},"暂估价"]
[2,"031001001001","镀锌钢管","1.安装部位:室内\n2.介质:废水\n3.规格、压力等级:热镀锌钢管DN100",null,"m","3.11"]
[3,"031001007001","复合管","1.安装部位:室内\n2.材质、规格:衬塑复合钢管DN50 \n3.连接形式:丝接",null,"m","59.62"]
[4,"031002001002","管道支架","1.名称:管道支架\n2.材质:钢质\n3.附加:制作与安装\n4.其他说明:详见相关图纸设计及规范要求",null,"kg","69.85"]
[5,"031002003004","套管","1.名称、类型:钢套管\n2.规格:DN100",null,"个","10"]
[6,"031002003005","套管","1.名称、类型:钢套管\n2.规格:DN50",null,"个","1"]
[7,"031002003002","套管","1.名称、类型:柔性防水套管\n2.规格:DN100",null,"个","6"]
[8,"031002003003","套管","1.名称、类型:柔性防水套管\n2.规格:DN50",null,"个","5"]
[null,null,"设备"]
[1,"031003003007","沟槽阀门","1.类型:闸阀\n2.规格、压力等级:DN100\n3.连接形式:沟槽连接",null,"个","18"]
[2,"031003003014","沟槽阀门","1.类型:压力开关 \n2.连接形式:沟槽连接",null,"个","2"]
[3,"031003003015","沟槽阀门","1.类型:水位传感器\n2.连接形式:沟槽连接",null,"个","1"]
[4,"031003003013","沟槽阀门","1.类型:止回阀\n2.规格、压力等级:DN100\n3.连接形式:沟槽连接",null,"个","2"]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":9},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：商水县档案馆改造项目消防一体化泵站",{"$nulls":3},"标段：",{"$nulls":4},"第 4 页 共 6 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量","金 额(元)"]
[{"$nulls":7},"综合单价","合 价",null,"其中"]
[{"$nulls":10},"暂估价"]
[5,"031003003008","焊接法兰阀门","1.类型:Y型过滤器\n2.规格、压力等级:DN100\n3.连接形式:沟槽连接",null,"个","4"]
[6,"031003003011","沟槽阀门","1.类型:橡胶软接\n2.规格、压力等级:DN100\n3.连接形式:沟槽连接",null,"个","8"]
[7,"031003001001","螺纹阀门","1.类型:闸阀\n2.材质:铜芯\n3.规格、压力等级:DN50",null,"个","2"]
[8,"031003001003","螺纹阀门","1.类型:超压泄压阀\n2.材质:铜芯\n3.规格、压力等级:DN50",null,"个","2"]
[9,"031003001004","螺纹阀门","1.类型:液压水位控制阀\n2.材质:铜芯\n3.规格、压力等级:DN50",null,"个","1"]
[10,"031003001002","螺纹阀门","1.类型:截止阀\n2.材质:铜芯\n3.规格、压力等级:DN32",null,"个","2"]
[11,"030901004001","报警装置","1.名称:雨淋报警阀组\n2.型号、规格:DN100",null,"组","1"]
[12,"031006015001","水箱","1.材质、类型:一体化不锈钢水箱\n2.型号、规格:10*5*2 \n3.其他:含槽钢基础",null,"台","1"]
[13,"030901002004","消火栓钢管","1.安装部位:室内\n2.介质:消防水\n3.材质、规格:热浸镀锌钢管 DN50\n4.连接形式:螺纹连接",null,"m","8.62"]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":9},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：商水县档案馆改造项目消防一体化泵站",{"$nulls":3},"标段：",{"$nulls":4},"第 5 页 共 6 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量","金 额(元)"]
[{"$nulls":7},"综合单价","合 价",null,"其中"]
[{"$nulls":10},"暂估价"]
[14,"030901002005","消火栓钢管","1.安装部位:室内\n2.介质:消防水\n3.材质、规格:热浸镀锌钢管 DN32\n4.连接形式:螺纹连接",null,"m","7.96"]
[15,"031208001001","设备绝热","1.绝热材料品种:B1橡塑棉保温\n2.绝热厚度:30mm\n3.保温层：铝箔",null,"m3","3"]
[16,"031208002001","管道绝热","1.绝热材料品种:B1橡塑棉保温\n2.绝热厚度:30mm\n3.保温层：铝箔",null,"m3","1.69"]
[17,"031006002001","稳压给水设备","1.设备名称:气压稳压装置\n2.型号、规格：稳压供水设备型号XU(L)- -2.0-30-ADL立式隔膜式气压罐SQL600配用水泵ADL6-5Q",null,"套","1"]
[18,"030404017001","配电箱","1.名称:AT-XF 消防水泵房配电控制总箱\n2.其他:详见图纸设计",null,"台","1"]
[19,"030404017003","配电箱","1.名称:XHB-消火栓泵控制柜\n2.其他:详见图纸设计",null,"台","1"]
[20,"030404017002","配电箱","1.名称:PLB-喷淋泵控制柜\n2.其他:详见图纸设计",null,"台","1"]
[21,"030404017004","配电箱","1.名称:WYB-消火栓稳压泵控制箱\n2.其他:详见图纸设计",null,"台","1"]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":9},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：商水县档案馆改造项目消防一体化泵站",{"$nulls":3},"标段：",{"$nulls":4},"第 6 页 共 6 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量","金 额(元)"]
[{"$nulls":7},"综合单价","合 价",null,"其中"]
[{"$nulls":10},"暂估价"]
[22,"030109001001","离心式泵","1.类型:室内消火栓水泵\n2.规格、压力等：BD3.0/10G-额定流量Q=10L/S额定扬程H=0.30MP额定功率P=11KW一用一备，互为备用，轮换启动",null,"台","2"]
[23,"030109001002","离心式泵","1.类型:喷淋泵\n2.规格、压力等：XBD3.0/15G-\n额定流量Q=15L/S额定扬H=0.30MP额定功率P=15KW一用一备，互为备用，轮换启动",null,"台","2"]
[null,null,"分部小计"]
[null,null,"措施项目"]
[1,"031301017001","脚手架搭拆",null,null,"项","1"]
{"$rows_empty":16}
["本页小计"]
["合  计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":9},"表—08"]

{"sheet":"表-11 总价措施项目清单与计价汇总表","index":2,"n_rows":32,"n_cols":11,"rows_kept":32,"merged":[[0,0,0,10],[1,0,1,3],[1,4,1,8],[1,9,1,10],[2,3,2,4],[2,8,2,9],[3,3,3,4],[3,8,3,9],[4,3,4,4],[4,8,4,9],[5,3,5,4],[5,8,5,9],[6,3,6,4],[6,8,6,9],[7,3,7,4],[7,8,7,9],[8,3,8,4],[8,8,8,9],[9,3,9,4],[9,8,9,9],[10,3,10,4],[10,8,10,9],[11,3,11,4],[11,8,11,9],[12,3,12,4],[12,8,12,9],[13,3,13,4],[13,8,13,9],[14,3,14,4],[14,8,14,9],[15,3,15,4],[15,8,15,9],[16,3,16,4],[16,8,16,9],[17,3,17,4],[17,8,17,9],[18,3,18,4],[18,8,18,9],[19,3,19,4],[19,8,19,9],[20,3,20,4],[20,8,20,9],[21,3,21,4],[21,8,21,9],[22,3,22,4],[22,8,22,9],[23,3,23,4],[23,8,23,9],[24,3,24,4],[24,8,24,9],[25,3,25,4],[25,8,25,9],[26,3,26,4],[26,8,26,9],[27,3,27,4],[27,8,27,9],[28,0,28,5],[28,8,28,9],[29,0,29,3],[29,4,29,10],[30,0,30,10],[31,0,31,3],[31,4,31,8],[31,9,31,10]]}
["总价措施项目清单与计价表"]
["工程名称：商水县档案馆改造项目消防一体化泵站",{"$nulls":3},"标段：",{"$nulls":4},"第 1 页 共 1 页"]
["序号","项目编码","项目名称","计 算 基 础",null,"费率\n(%)","金 额(元)","调整费\n率(%)","调整后\n金额(元)",null,"备 注"]
["1","031302001001","安全文明施工费","分部分项安全文明施工费+单价措施安全文明施工费"]
["2","01","其他措施费（费率类）"]
["2.1","031302002001","夜间施工增加费","分部分项其他措施费+单价措施其他措施费"]
["2.2","031302004001","二次搬运费","分部分项其他措施费+单价措施其他措施费"]
["2.3","031302005001","冬雨季施工增加费","分部分项其他措施费+单价措施其他措施费"]
["3","02","其他（费率类）"]
{"$rows_empty":19}
["合  计"]
["编制人（造价人员）：",{"$nulls":3},"复核人（造价工程师）："]
["注：1.“计算基础”中安全文明施工费可为“定额基价”、“定额人工费”或“定额人工费+定额机械费”，其他项目可为“定额人工费”或“定额人工费+定额机械费”。\n    2.按施工方案计算的措施费，若无“计算基础”和“费率”的数值，也可只填“金额”数值，但应在备注栏说明施工方案出处或计算方法。"]
[{"$nulls":9},"表-11"]

{"sheet":"表-12 其他项目清单与计价汇总表","index":3,"n_rows":38,"n_cols":7,"rows_kept":38,"merged":[[0,0,0,6],[1,0,1,2],[1,3,1,4],[1,5,1,6],[2,2,2,3],[2,4,2,5],[3,2,3,3],[3,4,3,5],[4,2,4,3],[4,4,4,5],[5,2,5,3],[5,4,5,5],[6,2,6,3],[6,4,6,5],[7,2,7,3],[7,4,7,5],[8,2,8,3],[8,4,8,5],[9,2,9,3],[9,4,9,5],[10,2,10,3],[10,4,10,5],[11,2,11,3],[11,4,11,5],[12,2,12,3],[12,4,12,5],[13,2,13,3],[13,4,13,5],[14,2,14,3],[14,4,14,5],[15,2,15,3],[15,4,15,5],[16,2,16,3],[16,4,16,5],[17,2,17,3],[17,4,17,5],[18,2,18,3],[18,4,18,5],[19,2,19,3],[19,4,19,5],[20,2,20,3],[20,4,20,5],[21,2,21,3],[21,4,21,5],[22,2,22,3],[22,4,22,5],[23,2,23,3],[23,4,23,5],[24,2,24,3],[24,4,24,5],[25,2,25,3],[25,4,25,5],[26,2,26,3],[26,4,26,5],[27,2,27,3],[27,4,27,5],[28,2,28,3],[28,4,28,5],[29,2,29,3],[29,4,29,5],[30,2,30,3],[30,4,30,5],[31,2,31,3],[31,4,31,5],[32,2,32,3],[32,4,32,5],[33,2,33,3],[33,4,33,5],[34,2,34,3],[34,4,34,5],[35,0,35,1],[35,2,35,3],[35,4,35,5],[36,0,36,6],[37,0,37,2],[37,3,37,4],[37,5,37,6]]}
["其他项目清单与计价汇总表"]
["工程名称：商水县档案馆改造项目消防一体化泵站",null,null,"标段：",null,"第 1 页 共 1 页"]
["序号","项 目 名 称","金 额(元)",null,"结算金额(元)",null,"备 注"]
["1","暂列金额",{"$nulls":4},"明细详见表-12-1"]
["2","暂估价"]
["2.1","材料（工程设备）暂估价","—      ",{"$nulls":3},"明细详见表-12-2"]
["2.2","专业工程暂估价",{"$nulls":4},"明细详见表-12-3"]
["3","计日工",{"$nulls":4},"明细详见表-12-4"]
["4","总承包服务费",{"$nulls":4},"明细详见表-12-5"]
{"$rows_empty":26}
["合  计",{"$nulls":5},"—"]
["注：材料（工程设备）暂估单价进入清单项目综合单价，此处不汇总。"]
[{"$nulls":5},"表—12"]

{"sheet":"表-12-1 暂列金额明细表","index":4,"n_rows":42,"n_cols":7,"rows_kept":42,"merged":[[0,0,0,6],[1,0,1,1],[1,2,1,5],[2,1,2,2],[2,5,2,6],[3,1,3,2],[3,5,3,6],[4,1,4,2],[4,5,4,6],[5,1,5,2],[5,5,5,6],[6,1,6,2],[6,5,6,6],[7,1,7,2],[7,5,7,6],[8,1,8,2],[8,5,8,6],[9,1,9,2],[9,5,9,6],[10,1,10,2],[10,5,10,6],[11,1,11,2],[11,5,11,6],[12,1,12,2],[12,5,12,6],[13,1,13,2],[13,5,13,6],[14,1,14,2],[14,5,14,6],[15,1,15,2],[15,5,15,6],[16,1,16,2],[16,5,16,6],[17,1,17,2],[17,5,17,6],[18,1,18,2],[18,5,18,6],[19,1,19,2],[19,5,19,6],[20,1,20,2],[20,5,20,6],[21,1,21,2],[21,5,21,6],[22,1,22,2],[22,5,22,6],[23,1,23,2],[23,5,23,6],[24,1,24,2],[24,5,24,6],[25,1,25,2],[25,5,25,6],[26,1,26,2],[26,5,26,6],[27,1,27,2],[27,5,27,6],[28,1,28,2],[28,5,28,6],[29,1,29,2],[29,5,29,6],[30,1,30,2],[30,5,30,6],[31,1,31,2],[31,5,31,6],[32,1,32,2],[32,5,32,6],[33,1,33,2],[33,5,33,6],[34,1,34,2],[34,5,34,6],[35,1,35,2],[35,5,35,6],[36,1,36,2],[36,5,36,6],[37,1,37,2],[37,5,37,6],[38,1,38,2],[38,5,38,6],[39,0,39,3],[39,5,39,6],[40,0,40,6],[41,0,41,1],[41,2,41,5]]}
["暂列金额明细表"]
["工程名称：商水县档案馆改造项目消防一体化泵站",null,"标段：",{"$nulls":3},"第 1 页 共 1 页"]
["序号","项 目 名 称",null,"计量单位","暂定金额(元)","备 注"]
{"$rows_empty":36}
["合  计",{"$nulls":4},"—"]
["注：此表由招标人填写，如不能详列，也可只列暂定金额总额，投标人应将上述暂列金额计入投标总价中。"]
[{"$nulls":6},"表—12—1"]

{"sheet":"表-12-2 材料(工程设备)暂估价及调整表","index":5,"n_rows":38,"n_cols":12,"rows_kept":38,"merged":[[0,0,0,11],[1,0,1,4],[1,5,1,8],[1,9,1,11],[2,0,3,0],[2,1,3,1],[2,2,3,2],[2,3,2,4],[2,5,2,6],[2,7,2,8],[2,9,2,10],[2,11,3,11],[35,0,35,2],[36,0,36,11],[37,0,37,4],[37,5,37,8],[37,9,37,11]]}
["材料（工程设备）暂估单价及调整表"]
["工程名称：商水县档案馆改造项目消防一体化泵站",{"$nulls":4},"标段：",{"$nulls":3},"第 1 页 共 1 页"]
["序号","材料(工程设备)\n名称、规格、型号","计量\n单位","数 量",null,"暂 估(元)",null,"确 认(元)",null,"差额±(元)",null,"备 注"]
[{"$nulls":3},"暂 估","确 认","单 价","合 价","单 价","合 价","单 价","合 价"]
{"$rows_empty":31}
["合  计"]
["注：此表由招标人填写“暂估单价”，并在备注栏说明暂估价的材料、工程设备拟用在那些清单项目上，投标人应将上述材料、工程设备暂估单价计入工程量清单综合单价报价中。"]
[{"$nulls":9},"表—12—2"]

{"sheet":"表-12-3 专业工程暂估价及结算价表","index":6,"n_rows":37,"n_cols":9,"rows_kept":37,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,3,2,4],[2,6,2,7],[3,3,3,4],[3,6,3,7],[4,3,4,4],[4,6,4,7],[5,3,5,4],[5,6,5,7],[6,3,6,4],[6,6,6,7],[7,3,7,4],[7,6,7,7],[8,3,8,4],[8,6,8,7],[9,3,9,4],[9,6,9,7],[10,3,10,4],[10,6,10,7],[11,3,11,4],[11,6,11,7],[12,3,12,4],[12,6,12,7],[13,3,13,4],[13,6,13,7],[14,3,14,4],[14,6,14,7],[15,3,15,4],[15,6,15,7],[16,3,16,4],[16,6,16,7],[17,3,17,4],[17,6,17,7],[18,3,18,4],[18,6,18,7],[19,3,19,4],[19,6,19,7],[20,3,20,4],[20,6,20,7],[21,3,21,4],[21,6,21,7],[22,3,22,4],[22,6,22,7],[23,3,23,4],[23,6,23,7],[24,3,24,4],[24,6,24,7],[25,3,25,4],[25,6,25,7],[26,3,26,4],[26,6,26,7],[27,3,27,4],[27,6,27,7],[28,3,28,4],[28,6,28,7],[29,3,29,4],[29,6,29,7],[30,3,30,4],[30,6,30,7],[31,3,31,4],[31,6,31,7],[32,3,32,4],[32,6,32,7],[33,3,33,4],[33,6,33,7],[34,0,34,2],[34,3,34,4],[34,6,34,7],[35,0,35,8],[36,0,36,3],[36,4,36,6],[36,7,36,8]]}
["专业工程暂估价及结算价表"]
["工程名称：商水县档案馆改造项目消防一体化泵站",{"$nulls":3},"标段：",null,null,"第 1 页 共 1 页"]
["序号","工 程 名 称","工 程 内 容","暂估金额\n（元）",null,"结算金额\n(元)","差额±(元)",null,"备 注"]
{"$rows_empty":31}
["合  计",null,null,"0.00",{"$nulls":4},"—"]
["注：此表“暂估金额”由招标人填写，投标人应将“暂估金额”计入投标总价中。结算时按合同约定结算金额填写。"]
[{"$nulls":7},"表—12—3"]

{"sheet":"表-12-4 计日工表","index":7,"n_rows":38,"n_cols":10,"rows_kept":38,"merged":[[0,0,0,9],[1,0,1,3],[1,4,1,6],[1,7,1,9],[2,0,3,0],[2,1,3,1],[2,2,3,2],[2,3,3,4],[2,5,3,5],[2,6,3,7],[2,8,2,9],[4,3,4,4],[4,6,4,7],[5,3,5,4],[5,6,5,7],[6,0,6,7],[7,3,7,4],[7,6,7,7],[8,3,8,4],[8,6,8,7],[9,0,9,7],[10,3,10,4],[10,6,10,7],[11,3,11,4],[11,6,11,7],[12,0,12,7],[13,0,13,7],[14,3,14,4],[14,6,14,7],[15,3,15,4],[15,6,15,7],[16,3,16,4],[16,6,16,7],[17,3,17,4],[17,6,17,7],[18,3,18,4],[18,6,18,7],[19,3,19,4],[19,6,19,7],[20,3,20,4],[20,6,20,7],[21,3,21,4],[21,6,21,7],[22,3,22,4],[22,6,22,7],[23,3,23,4],[23,6,23,7],[24,3,24,4],[24,6,24,7],[25,3,25,4],[25,6,25,7],[26,3,26,4],[26,6,26,7],[27,3,27,4],[27,6,27,7],[28,3,28,4],[28,6,28,7],[29,3,29,4],[29,6,29,7],[30,3,30,4],[30,6,30,7],[31,3,31,4],[31,6,31,7],[32,3,32,4],[32,6,32,7],[33,3,33,4],[33,6,33,7],[34,3,34,4],[34,6,34,7],[35,0,35,7],[36,0,36,9],[37,0,37,3],[37,4,37,6],[37,7,37,9]]}
["计 日 工 表"]
["工程名称：商水县档案馆改造项目消防一体化泵站",{"$nulls":3},"标段：",null,null,"第 1 页 共 1 页"]
["编号","项 目 名 称","单位","暂定数量",null,"实际数量","综合单价\n(元)",null,"合 价(元)"]
[{"$nulls":8},"暂 定","实 际"]
["一","人工"]
[1]
["人工小计"]
["二","材料"]
[1]
["材料小计"]
["三","施工机械"]
[1]
["施工机械小计"]
["   四、企业管理费和利润"]
{"$rows_empty":21}
["总  计"]
["注：此表项目名称、暂定数量由招标人填写，编制招标控制价时，单价由招标人按有关计价规定确定；投标时，单价由投标人自主报价，按暂定数量计算合价计入投标总价中。结算时，按发承包双方确认的实际数量计算合价。"]
[{"$nulls":7},"表—12—4"]

{"sheet":"表-12-5 总承包服务费计价表","index":8,"n_rows":38,"n_cols":9,"rows_kept":38,"merged":[[0,0,0,8],[1,0,1,2],[1,3,1,5],[1,6,1,8],[2,2,2,3],[2,5,2,6],[3,2,3,3],[3,5,3,6],[4,2,4,3],[4,5,4,6],[5,2,5,3],[5,5,5,6],[6,2,6,3],[6,5,6,6],[7,2,7,3],[7,5,7,6],[8,2,8,3],[8,5,8,6],[9,2,9,3],[9,5,9,6],[10,2,10,3],[10,5,10,6],[11,2,11,3],[11,5,11,6],[12,2,12,3],[12,5,12,6],[13,2,13,3],[13,5,13,6],[14,2,14,3],[14,5,14,6],[15,2,15,3],[15,5,15,6],[16,2,16,3],[16,5,16,6],[17,2,17,3],[17,5,17,6],[18,2,18,3],[18,5,18,6],[19,2,19,3],[19,5,19,6],[20,2,20,3],[20,5,20,6],[21,2,21,3],[21,5,21,6],[22,2,22,3],[22,5,22,6],[23,2,23,3],[23,5,23,6],[24,2,24,3],[24,5,24,6],[25,2,25,3],[25,5,25,6],[26,2,26,3],[26,5,26,6],[27,2,27,3],[27,5,27,6],[28,2,28,3],[28,5,28,6],[29,2,29,3],[29,5,29,6],[30,2,30,3],[30,5,30,6],[31,2,31,3],[31,5,31,6],[32,2,32,3],[32,5,32,6],[33,2,33,3],[33,5,33,6],[34,2,34,3],[34,5,34,6],[35,2,35,3],[35,5,35,6],[36,0,36,8],[37,0,37,2],[37,3,37,5],[37,6,37,8]]}
["总承包服务费计价表"]
["工程名称：商水县档案馆改造项目消防一体化泵站",null,null,"标段：",null,null,"第 1 页 共 1 页"]
["序号","项 目 名 称","项目价值（元）",null,"服务内容","计算基础",null,"费率(%)","金 额(元)"]
{"$rows_empty":32}
[null,"合    计","-",null,"-",null,null,"-"]
["注：此表项目名称、服务内容由招标人填写，编制招标控制价时，费率及金额由招标人按有关计价规定确定；投标时，费率及金额由投标人自主报价，计入投标总价中。"]
[{"$nulls":6},"表—12—5"]

{"sheet":"表-13 规费、税金项目计价表","index":9,"n_rows":38,"n_cols":8,"rows_kept":38,"merged":[[0,0,0,7],[1,0,1,2],[1,3,1,5],[1,6,1,7],[2,2,2,3],[2,5,2,6],[3,2,3,3],[3,5,3,6],[4,2,4,3],[4,5,4,6],[5,2,5,3],[5,5,5,6],[6,2,6,3],[6,5,6,6],[7,2,7,3],[7,5,7,6],[8,2,8,3],[8,5,8,6],[9,2,9,3],[9,5,9,6],[10,2,10,3],[10,5,10,6],[11,2,11,3],[11,5,11,6],[12,2,12,3],[12,5,12,6],[13,2,13,3],[13,5,13,6],[14,2,14,3],[14,5,14,6],[15,2,15,3],[15,5,15,6],[16,2,16,3],[16,5,16,6],[17,2,17,3],[17,5,17,6],[18,2,18,3],[18,5,18,6],[19,2,19,3],[19,5,19,6],[20,2,20,3],[20,5,20,6],[21,2,21,3],[21,5,21,6],[22,2,22,3],[22,5,22,6],[23,2,23,3],[23,5,23,6],[24,2,24,3],[24,5,24,6],[25,2,25,3],[25,5,25,6],[26,2,26,3],[26,5,26,6],[27,2,27,3],[27,5,27,6],[28,2,28,3],[28,5,28,6],[29,2,29,3],[29,5,29,6],[30,2,30,3],[30,5,30,6],[31,2,31,3],[31,5,31,6],[32,2,32,3],[32,5,32,6],[33,2,33,3],[33,5,33,6],[34,2,34,3],[34,5,34,6],[35,0,35,4],[35,5,35,6],[36,0,36,2],[36,3,36,7],[37,0,37,2],[37,3,37,5],[37,6,37,7]]}
["规费、税金项目计价表"]
["工程名称：商水县档案馆改造项目消防一体化泵站",null,null,"标段：",null,null,"第 1 页 共 1 页"]
["序号","项 目 名 称","计 算 基 础",null,"计算基数","计算费率\n(%)",null,"金 额(元)"]
["1","规费","定额规费+工程排污费+其他"]
["1.1","定额规费","分部分项规费+单价措施规费"]
["1.2","工程排污费"]
["1.3","其他"]
["2","增值税","不含税工程造价合计"]
{"$rows_empty":27}
["合  计"]
[" 编制人（造价人员）：",null,null,"复核人（造价工程师）："]
[{"$nulls":6},"表—13"]

{"sheet":"表-14 主要材料价格表","index":10,"n_rows":23,"n_cols":10,"rows_kept":23,"merged":[[0,0,0,9],[1,0,1,1],[1,2,1,7],[1,8,1,9],[2,1,2,2],[2,7,2,8],[3,1,3,2],[3,7,3,8],[4,1,4,2],[4,7,4,8],[5,1,5,2],[5,7,5,8],[6,1,6,2],[6,7,6,8],[7,1,7,2],[7,7,7,8],[8,1,8,2],[8,7,8,8],[9,1,9,2],[9,7,9,8],[10,1,10,2],[10,7,10,8],[11,1,11,2],[11,7,11,8],[12,1,12,2],[12,7,12,8],[13,1,13,2],[13,7,13,8],[14,1,14,2],[14,7,14,8],[15,1,15,2],[15,7,15,8],[16,1,16,2],[16,7,16,8],[17,1,17,2],[17,7,17,8],[18,1,18,2],[18,7,18,8],[19,1,19,2],[19,7,19,8],[20,1,20,2],[20,7,20,8],[21,1,21,2],[21,7,21,8],[22,1,22,2],[22,7,22,8],[23,1,23,2],[23,7,23,8],[24,1,24,2],[24,7,24,8],[25,1,25,2],[25,7,25,8],[26,1,26,2],[26,7,26,8],[27,1,27,2],[27,7,27,8]]}
["主要材料价格表"]
["工程名称：",null,"商水县档案馆改造项目消防一体化泵站",{"$nulls":5},"第 1 页 共 1 页"]
["序号","材料编码",null,"材料名称","规格、型号\n等特殊要求","单位","数 量","单 价",null,"合 价"]
[1,"15070111@2",null,"橡塑棉","30mm","m3"]
[2,"15130196@2",null,"橡塑棉",null,"m3"]
[3,"17010131@20",null,"内外壁热浸镀锌钢管","DN100","m"]
[4,"17030103@29",null,"焊接钢管DN50",null,"m"]
[5,"17280101@1",null,"衬塑复合钢管DN50",null,"m"]
[6,"18110090",null,"给水室内钢塑复合管螺纹管件","公称直径50mm以内","个"]
[7,"19000301@26",null,"闸阀","公称直径100mm以内","个"]
[8,"23390411@7",null,"湿式报警装置DN100","公称直径100mm以内","套"]
[9,"28110000@3",null,"电力电缆","WDZN-YJY-4*30+1*16","m"]
[10,"28270000@5",null,"控制电缆","WDZN-KYJY-7*1.5","m"]
[11,"补充主材002@32",null,"消火栓泵XBD3.0/10G-\n额定流量Q=10L/S\n额定扬程H=0.30MP\n额定功率P=11KW一\n用一备，互为备用，轮换启动",null,"台"]
[12,"补充主材002@33",null,"喷淋泵XBD3.0/15G-\n额定流量Q=15L/S额定扬H=0.30MP额定功率P=15KW一用一备，互为备用，轮换启动",null,"台"]
[13,"补充主材005@1",null,"广播总机",null,"台"]
[14,"补充主材005@2",null,"电话总机",null,"台"]
[15,"补充主材006@1",null,"火灾报警联动一体机安装 壁挂",null,"台"]
[16,"补充主材008@1",null,"XHB-消火栓泵控制柜",null,"台"]
[17,"补充主材008@2",null,"PLB-喷淋泵控制柜",null,"台"]
[18,"补充主材008@5",null,"稳压供水设备型号XU(L)- -2.0-30-ADL立式隔膜式气压罐SQL600配用水泵ADL6-5Q",null,"套"]
[19,"补充主材008@6",null,"AT-XF 消防水泵房配电控制总箱",null,"台"]
[20,"补充主材009@1",null,"一体化不锈钢水箱",null,"台"]